## Slide 1: A practical example of the proposed UI-API
Rasmus Fogh MXCuBE / ISPyB joint meeting Trieste, September 2018

## Slide 2: Credits
Contents by the MXCuBE developers group
Main contribution by the MXCuBE3 project
  who already had a similar API, we could build on

## Slide 3: Contents
Organisation
Example: SampleChanger
GL

## Slide 4: The two sides
User Interface Qt4 / Web
Beamline control (Hardware Objects)

## Slide 5: Strictly separated
User Interface Qt4 / Web
Beamline control (Hardware Objects)
Air Gap
Message passing only

## Slide 6: Principles
User Interface Qt4 / Web
Beamline control (Hardware Objects)
All actions start on the UI side
Only data relevant to UI
  Hardware object data handled elsewhere
  No sharing of data or objects
All UI communication through this interface
All system state kept on the beamline side
Mainly high-level commands
Air Gap

## Slide 7: Overview
User Interface Qt4 / Web
Command
Success?
Beamline control (Hardware Objects)

## Slide 8: Overview
User Interface Qt4 / Web
Command
Success?
Query
Data
Beamline control (Hardware Objects)

## Slide 9: Overview
User Interface Qt4 / Web
Command
Success?
Query
Data
Signals
Beamline control (Hardware Objects)
Data

## Slide 10: Contents
Organisation
Example: SampleChanger
  Example is COMPLETE
  Slightly cleaned-up from current draft
GL

## Slide 11: Data Structures
LocationStr: “cell:basket:sample”
SampleChangerState: # enumeration
class SampleNode: id: str name: str location: LocationStr selected: bool loadable: bool children: List[SampleNode]
class ProcedureData: # Command name, parameters, …
# Defined elsewhere

## Slide 12: Commands
select_location(location:LocationStr) -> bool:
scan_location(location:LocationStr) -> bool:
# Check location for contents
mount_sample(location:LocationStr) -> bool:
unmount_current_sample(to_location: LocationStr=None) -> bool:

## Slide 13: Queries
get_state() -> SampleChangerState :
get_current_sample() -> LocationStr :
get_sample_list() -> List[SampleNode]:
# get list of actual samples
get_sc_contents() -> SampleNode:
# get hierarchy of samples and containers
get_full_state() -> Dict:
# All of the above
# plus get_available_commands and a message

## Slide 14: Signals
stateChanged (old_state:SampleChangerState, new_state:SampleChangerState)
# SC state changed
loadedSampleChanged (newSample:SampleNode)
# New sample loaded
contentsUpdated (sample:SampleNode)
# Sample queue updated
scError: (error_code:str, msg:str)
# SC error
cmdStateChanged (commandNames:List[str], msg:str)
# List of available commands changed

## Slide 15: Additional functions
Additional functions can be registered
  Extensions
  Complex procedures
  Site-specific functions
get_available_commands() -> OrderedDict[str, ProcedureData]: # List of available commands
# ‘ProcedureData’ defined elsewhere
exec_command(name:str, **kwargs) -> bool:
# Execute command with keyword arguments

## Slide 16
END
GL